Table of DRAFT BHPB Amalgamated Licence – April 27, 2009

| Terms and Conditions of the Amended Water Licence; MV2003L2-0013 | Corresponding Condition in Main Licence (MV2003L2-0013) | Corresponding Condition in SPB Licence; (MV2001L2-0008) | Notes | Reviewer Comments |
| --- | --- | --- | --- | --- |
| Part A: Scope and Definitions | (“N/A” means “not applicable”) | (“N/A” means “not applicable”) |  |  |
| Scope |  |  |  |  |
| This Licence entitles BHP Billiton Diamonds Inc. to divert water from Upper Panda Lake to Kodiak Lake, and to use water and dispose of Waste for the purpose of mining the Panda, Koala, Koala North, Misery and Fox kimberlite pipes and for operating the processing facilities and infrastructure associated with diamond mining with the Koala, Misery, King-Cujo and Desperation-Carrie Watersheds of the Lac de Gras basin, Northwest Territories. This Licence also entitles BHP Billiton Diamonds Inc. to use water, Dewater Sable, Pigeon, and Beartooth Lakes for the purpose of mining, to Drawdown Two Rock Lake, divert Pigeon Stream around the Pigeon pit, pipe water from Bearclaw Lake outflow around Beartooth pit, use water from Ursula and Upper Exeter Lake, deposit Processed Kimberlite into the Beartooth pit for the purpose of creating a pit lake, and dispose of Waste for industrial undertakings in diamond mining and processing, production and associated uses in the Koala, Pigeon and Sable watersheds, Northwest Territories as shown on Figure 6, 8, & 10 of the Class A Water Licence and Land Use Permits supporting documents, submitted August 21, 2001. The activities listed above are to be conducted as described in the Environment Impact Assessment. | Part A, Item 1(a) | Part A, Item 1(a) | First paragraph exactly as per Main Licence; second paragraph exactly as per SPB Licence. Third paragraph makes reference to newly defined “Environmental Impact Assessment” |  |
| This Licence is issued subject to the conditions contained herein with respect to the taking of water and the depositing of Waste of any type in any waters or in any place under any conditions where such Waste or any other Waste that results from the deposits of such Waste may enter any waters. Whenever new Regulations are made or existing Regulations are amended by the Governor in Council under the Northwest Territories Waters Act, or other statutes imposing more stringent conditions relating to the quantity or type of Waste that may be so deposited or under which any such Waste may be so deposited this Licence shall be deemed, upon promulgation of such Regulations, to be automatically amended to conform with such Regulations. | Part A, Item 1(b) | Part A, Item 1(b) | Same condition in both licences. |  |
| Compliance with the terms and conditions of this Licence does not relieve the Licensee from responsibility from compliance with the requirements of all applicable, Federal, Territorial, Tlicho and Municipal legislation. | Part A, Item 1(c) | Part A, Item 1(c) | Same condition in both licences. |  |
| Definitions |  |  |  |  |
| “Acid/Alkaline Rock Drainage (ARD)" means the production of acidic or alkaline leachate, Seepage or drainage from underground workings, ore piles, Waste Rock, Processed Kimberlite, and overburden that can lead to the release of metals to Groundwater or surface water during the life of the mine and after mine closure. | Part A, Item 2 | Part A, Item 2 | Same definition in both licences. |  |
| "Act" means the Northwest Territories Waters Act. | Part A, Item 2 | Part A, Item 2 | Same definition in both licences. |  |
| "Adaptive Management Plan" is a Management Plan that describes a way of managing risks associated with uncertainty and provides a flexible framework for the mitigation measures to be implemented and actions to be taken when specified thresholds are exceeded. | Part A, Item 2 | N/A | From Main Licence. |  |
| "Analyst" means an Analyst designated by the Minister under section 35(1) of the Act. | Part A, Item 2 | Part A, Item 2 | Same definition in both licences. |  |
| "Aquatic Effects Monitoring Program" means a monitoring program designed to determine the short- and long-term effects in the Receiving Environment resulting from the Project; to evaluate the accuracy of impact predictions; to assess the effectiveness of planned impact mitigation measures; and to identify additional impact mitigation measures to reduce or eliminate environmental effects. | Part A, Item 2 | Part A, Item 2 | Same definition was in both licences but “water environment” has been replaced with the defined term “Receiving Environment”. Change will not affect operation under Main Licence. |  |
| "Board" means the Wek’èezhìi Land and Water Board established under Section 57.1 of the Mackenzie Valley Resource Management Act. | Part A, Item 2 | Part A, Item 2 | Both Licences referred to the MVLWB and has now been corrected. Change will not affect operation under Main Licence. |  |
| "Coarse Kimberlite Reject Material" is the coarse material, generally between 0.5 mm and 8 mm in diameter, rejected from the process plant after the recoverable diamonds have been extracted. | Part A, Item 2 | N/A | From Main Licence. |  |
| "Collection and Settling Ponds" are containment structures used to collect water and/or Waste or to settle solids suspended in Minewater. This definition does not include Sumps, the King Pond Settling Pond, and Collection and Settling Ponds that are adjacent to active mining areas or within an open pit such that all Seepage or overflow would flow into the pit. | Part A, Item 2 | N/A | From Main Licence. |  |
| "Contaminated Snow Containment Facility" is the lined area set aside within the Waste Rock Storage Areas for the containment of snow and ice contaminated by hydrocarbons and other products as approved of in the Hydrocarbon-Contaminated Materials Management Plan. | Part A, Item 2 | N/A | From Main Licence. |  |
| “Construction” means any activities undertaken to construct or build any components of, or associated with, the development of the Project. | N/A | Part A, Item 2 | Addition of this definition will not affect operation under Main Licence. |  |
| “Dam Safety Guidelines” means the Canadian Dam Associations (CDA) Dam Safety Guidelines (DSG), January 1999 or subsequent approved editions. The scope and applicability of the DSG referred to in this Licence, is presented in Section 1 of the DSG. | N/A | Part A, Item 2 | Reference to this definition only made in the context of SPB Development. |  |
| "Dewatering" means the removal of all water from a natural water body. | Part A, Item 2 | Part A, Item 2 | Main Licence language used. |  |
| “Discharge” means the direct or indirect release of any water or Waste to the Receiving Environment. | N/A | Part A, Item 2 | Addition of this definition will not affect operation under Main Licence. |  |
| "Drawdown" means the partial removal of water from a natural water body. | Part A, Item 2 | Part A, Item 2 | Main Licence language used. |  |
| "Environmental Impact Assessment” means the 1995 Environmental Impact Assessment of the 1994 NWT Diamonds Project Description conducted under the EARP Guidelines Order, or the environmental assessment of Licence application N7L2-1736 conducted under Part 5 of the MVRMA, or both as the context requires. | Part A, Item 2 - Replaces “Environmental Impact Statement” | Part A, Item 2 - Replaces “Environmental Impact Statement” | Necessary for amalgamation of licences; change will not affect operation under Main Licence. |  |
| "Freeboard" means the vertical distance between the water line and the effective water containment crest on the upstream slope of a dam or dyke. | Part A, Item 2 | Part A, Item 2 | Same definition in both licences. |  |
| "Frozen Core" means a permafrost core comprised of frozen ice-saturated aggregate material and functioning as an impervious barrier to water, Waste or Processed Kimberlite. | Part A, Item 2 | Part A, Item 2 | Same definition in both licences. |  |
| "Groundwater" means all water below the ground surface. | Part A, Item 2 | Part A, Item 2 | Main Licence language used. |  |
| "Inspector" means an Inspector designated by the Minister under section 35(1) of the Act. | Part A, Item 2 | Part A, Item 2 | Same definition in both licences. |  |
| "King Pond Settling Pond" comprises the basin and associated containment structures as generally described in the application for renewal of Water Licence N7L2-1616 filed on December 12, 2003 and given file number MV2003L2-0013 [see Figure 1.6c in the Mining Industry Questionnaire] or as modified in subsequent plans and/or drawings as approved by the Board. | Part A, Item 2 | N/A | From Main Licence |  |
| "Land Farm" comprises the lined, engineered facility designed to contain and treat, using bioremediation, hydrocarbon contaminated sediments and soil with an average diameter less than 4 cm. | Part A, Item 2 | N/A | From Main Licence |  |
| "Licensee" means the holder of this Licence. | Part A, Item 2 | Part A, Item 2 | Same definition in both licences. |  |
| "Long Lake Containment Facility" comprises the basin and containment structures that are designed to contain Processed Kimberlite and other Waste as described in the application for renewal of Water Licence N7L2-1616 filed on December 12, 2003 and given file number MV2003L2-0013 [as shown in Figure 5.2a in the Mining Industry Questionnaire] or as modified in subsequent plans and/or drawings as approved by the Board. | Part A, Item 2 | N/A | Main Licence language used. |  |
| “Management Plans” means the specific plans required by the Board under this Water Licence. | N/A | Part A, Item 2 | Addition of this definition will not affect operation under Main Licence. |  |
| "Maximum Average Concentration" means the running average of any four (4) consecutive analytical results submitted to the Board in accordance with the sampling and analysis requirements specified in the "Surveillance Network Program". | Part A, Item 2 - Replaces “Average concentration” | Part A, Item 2 | Although this changes a definition in Part A of the Main Licence, the term “Maximum Average Concentration” is used in Part G, Item 13(a) of Main Licence and is more appropriate. Change will not affect operation under Main Licence. |  |
| "Mine Plan" means the life of mine plan as updated by the Licensee from time to time for sequencing of the development of the Project. | N/A | Part A, Item 2 | Addition of this definition will not affect operation under Main Licence. |  |
| "Minewater" includes runoff from facilities associated with the Project and all water or Waste pumped or flowing out of any open pit or underground mine. | Part A, Item 2 | Part A, Item 2 | Main Licence language used. |  |
| "Minister" means the Minister of Indian and Northern Affairs Canada. | Part A, Item 2 | Part A, Item 2 | Same definition in both licences. |  |
| “Modification” means a change approved under Part H of this Licence. | N/A | Part A, Item 2 | Addition of this definition will not affect operation under Main Licence. |  |
| "Phase I Tailings Containment Area" comprises the containment basin and the engineered structures designed to contain Processed Kimberlite as described in Drawing Number 11522-1, Sheets 1 and 2, titled "BHP Minerals Canada Ltd. – NWT Diamonds - Phase I Tailings Dam, As Built Plan and As Built Cross Sections" scale 1:100, date stamped on July 28, 1994. | Part A, Item 2 | N/A | From Main Licence |  |
| “Pigeon Development” means all of the activities and facilities associated with the Construction, operation and decommissioning of the Pigeon pit. |  |  |  |  |
| "Processed Kimberlite" means material rejected from the process plant after the recoverable diamonds have been extracted. | Part A, Item 2 | Part A, Item 2 | Main Licence language used. |  |
| "Professional Engineer” means a Professional Engineer registered with the Association of Professional Engineers, Geologists, and Geophysicists of the Northwest Territories and whose principal field of specialization is appropriate to the work at hand. | Part A, Item 2 | Part A, Item 2 - Replaces “Geotechnical Engineer” and “Engineering Geologist” | Main Licence language used. |  |
| "Project" means the EKATI Diamond Mine operation in its entirety as described in the Environmental Impact Assessment. | Part A, Item 2 | Part A, Item 2 | New definition incorporating the new term “Environmental Impact Assessments”. Required for amalgamation of licences but will not affect operations under Main Licence. |  |
| "Racetrack" means the designated area within the Coarse Kimberlite Reject Material storage area that is used for the disposal of the decanted water or Waste from the Land Farm and the Contaminated Snow Containment Facility, or other sources of Minewater. | Part A, Item 2 | N/A | From Main Licence |  |
| "Receiving Environment" means, for the purpose of this Licence, the natural aquatic environment that receives any deposit or Discharge of Waste, including Seepage or Minewater, from the Project. | Part A, Item 2 | Part A, Item 2 | Main Licence language used. |  |
| "Regulations" are those Regulations proclaimed pursuant to section 33 of the Act. | Part A, Item 2 | Part A, Item 2 | Same definition in both licences. |  |
| “Sable Development” means all of the activities and facilities associated with the Construction, operation and decommissioning of the Sable pit. | N/A | N/A | New definition required for amalgamation; does not affect operation under Main Licence. |  |
| “Sable, Pigeon, and Beartooth Development” means all of the activities and facilities associated with the Construction, operation and decommissioning of the Sable, Pigeon and Beartooth pits. | N/A | N/A | New definition required for amalgamation; does not affect operation under Main Licence. |  |
| "Seepage" includes water that drains through or escapes from any structure designed to contain, withhold, divert or retain water or Waste, including Waste Rock Storage Areas. | Part A, Item 2 | N/A | From Main Licence. |  |
| "Sewage" means all toilet Waste and greywater. | Part A, Item 2 | Part A, Item 2 | Same definition in both licences. |  |
| "Sewage Treatment Facilities" means the facilities that are designed to contain and treat Sewage. | Part A, Item 2 | Part A, Item 2 - Replaces “Sewage Disposal Facilities” | Main Licence language used. |  |
| "Sump" is a storage facility constructed to temporarily collect, hold or transfer water and/or Waste within the Project. | Part A, Item 2 | N/A | From Main Licence. |  |
| “Two Rock Sedimentation Pond" means the containment structure that is designed to contain the Minewater from the Sable pit during operation, drainage from the Waste Rock Storage Area and the turbid water and solids fraction of the lake sediments after lake Dewatering and stripping as described in the document titled "Preliminary Design of Water Control Structures for Sable, Pigeon and Beartooth Pit Developments" prepared by EBA Engineering Consultants Ltd., April, 2000. | N/A | Part A, Item 2 | Addition of this definition will not affect operation under Main Licence. |  |
| "Unauthorized Discharge" is a release or Discharge of any water or Waste not authorized under this Licence. | Part A, Item 2 | N/A | From Main Licence. |  |
| "Waste" means Waste as defined by section 2 of the Act. | Part A, Item 2 | Part A, Item 2 | Same definition in both licences. |  |
| "Waste Rock" means all unprocessed rock materials that are produced as a result of mining operations. | Part A, Item 2 | Part A, Item 2 | Same definition in both licences. |  |
| "Waste Rock Storage Area" means the facilities where Waste Rock and Coarse Kimberlite Reject Materials are deposited in accordance with this Licence. | Part A, Item 2 - Replaces “Waste Rock Storage Facilities” | Part A, Item 2 - Replaces “Waste Rock Storage Facilities” | In the body of the licences and in reports submitted by the company, the term “Waste Rock Storage Area” is used instead of “Waste Rock Storage Facility”. Change in definition will not affect operation under Main Licence. |  |
| "Water Supply Facilities - Grizzly Lake" comprises the area and associated intake infrastructure at Grizzly Lake as identified in Drawing Number D-U150-51-9-0009 titled, "H.A. Simons Ltd., NWT Diamonds Project, Water System, Fresh Water Supply - Plans and Sections", dated July 29, 1996. | Part A, Item 2 | N/A | From Main Licence. |  |
| "Water Supply Facilities - Little Lake" comprises the area and associated intake infrastructure at Little Lake. | Part A, Item 2 | N/A | From Main Licence. |  |
| "Water Supply Facilities - Thinner Lake Misery Camp" comprises the area and associated intake infrastructure at Thinner Lake Misery Camp as identified in Drawing Number 230320-73-210-07, revision A, scale 1:500, titled "Potable Water Pumphouse Layout", dated October 26, 1995. | Part A, Item 2 | N/A | From Main Licence. |  |
| "Zone S" means the area within the Waste Rock Storage Areas designated for containment of rock/sediments with an average diameter greater than 4 cm that have been contaminated by hydrocarbons. | Part A, Item 2 | N/A | From Main Licence. |  |
| “Zone of Influence” means an area within which there are positive or negative effects as a result of the Project. | N/A | Part A, Item 2 | Addition of this definition will not affect operation under Main Licence |  |
| Part B: General Conditions |  |  |  |  |
| The Licensee shall file an Annual Report with the Board no later than March 31st of the year following the calendar year reported which shall contain the following information: | Part B, Item 9 | Part B, Item 1 | Same condition in both licences. |  |
| Measuring and Reporting on Water and Waste: |  |  |  |  |
| the monthly and annual quantities in cubic metres of water obtained from Grizzly Lake, Little Lake, Thinner Lake(Misery Camp) and Two Rock Lake or Two Rock Sedimentation Pond; | Part B, Item 9(a) | Part B, Item 1(a) | Same condition in both licences. |  |
| the monthly elevations of water during open water for Grizzly Lake, Little Lake, Thinner Lake Upper Panda Lake, Cell E of the Long Lake Containment Facility, the King Pond Settling Pond and the Two Rock Sedimentation Pond; | Part B, Item 9(b) | Part B, Item 1(b) | Same condition in both licences. |  |
| the monthly and total quantities in cubic metres of water Dewatered from Sable, Pigeon, and Two Rock Lakes; | N/A | Part B, Item 1(c) | Addition that only affects SPB Development. |  |
| the monthly and annual quantities in cubic metres of each Waste deposited into the Long Lake Containment Facility, King Pond Settling Pond, Phase 1 Tailings Containment Area and Two Rock Sedimentation Pond; | Part B, Item 9(d) | Part B, Item 1(d) | Same condition in both licences. |  |
| the monthly and annual quantities in cubic metres of any Discharges of water or Waste from the Long Lake Containment Facility, King Pond Settling Pond, Phase 1 Tailings Containment Area and Two Rock Sedimentation Pond; | Part B, Item 9(e) | Part B, Item 1(e) | Same condition in both licences. |  |
| the monthly and annual quantities in cubic metres of Minewater pumped from each open pit and underground mine; | Part B, Item 9(f) | Part B, Item 1(f) | Same condition in both licences. |  |
| the monthly and annual quantities in cubic metres of treated Sewage effluent Discharged from the Sewage Treatment Facilities; | Part B, Item 9(g) | Part B, Item 1(g) | Main Licence language used. |  |
| the monthly and annual quantities in cubic metres of Sewage solids removed from the Sewage Treatment Facilities; | Part B, Item 9(h) | N/A | From Main Licence. |  |
| the source and volume (on a monthly and annual basis in cubic metres) of recycled water, identifying both source and use; | Part B, Item 9(c) | Part B, Item 1(h) | Same condition in both licences. |  |
| tabular and graphical summaries of all data and information generated under the "Surveillance Network Program" in an electronic and printed format acceptable to the Board. The Licensee shall provide raw data in electronic form upon request by the Board; | Part B, Item 9(i) | Part B, Item 1(i) | Same condition in both licences. |  |
| Management Plans and Activities: |  |  |  |  |
| a summary of Dewatering and Drawdown activities in accordance with Part E, Item 1; | Part B, Item 9(k) | Part B, Item 1(j) | Same condition in both licences. |  |
| a summary of Construction activities and an updated Mine Plan; | Part B, Item 9(l) and (x) | Part B, Item 1(k) | This one condition encompasses all three of the listed conditions of two licences. |  |
| a summary of all work carried out under the approved Management Plans over the last year in accordance with Part G, Items 1 through 4 and 6 through 8 of this Licence including: | Part B, Item 9(m) | Part B, Item 1(l) and (w) | Same condition in both licences. |  |
| the quantity of kimberlite processed through the process plant, | Part B, Item 9(m)(i) | N/A | From Main Licence. |  |
| the quantity of Waste Rock from each open pit and underground mine deposited in each of the Waste Rock Storage Areas, | Part B, Item 9(m)(ii) | Part B, Item 1(m) | Same condition in both licences. |  |
| the quantity of Coarse Kimberlite Reject Material deposited in the Coarse Kimberlite Reject Material storage areas, | Part B, Item 9(m)(iii) | N/A | From Main Licence. |  |
| the quantity of fine Processed Kimberlite deposited in the Long Lake Containment Facility, | Part B, Item 9(m)(iv) | N/A | From Main Licence. |  |
| a summary of the results of Seepage surveys conducted in accordance with Part G, Item 4 of this Licence, and | Part B, Item 9(m)(v) | Part B, Item 1(l) | Same condition in both licences. |  |
| updated results of ongoing Acid/Alkaline Rock Drainage and related geochemical test work; | Part B, Item 9(m)(vi) | N/A | From Main Licence. |  |
| a summary of Modifications in accordance with Part H of this Licence and/or major maintenance work carried out on any water or Waste management facilities including, but not limited to, Water Supply Facilities, Collection and Settling Ponds, Long Lake Containment Facility, King Pond Settling Pond , Sewage Treatment Facilities, Two Rock Sedimentation Pond, Pigeon Diversion Channel and associated structures; | Part B, Item 9(n) | Part B, Item 1(n) | Same condition in both licences. |  |
| a summary of the results of the Aquatic Environmental Monitoring Program in accordance with Part J of this Licence; | Part B, Item 9(t) | Part B, Item 1(p) | Same condition in both licences. |  |
| a progress report on any studies requested by the Board that relate to Waste management, water use or mine site reclamation and a brief description of any future studies planned by the Licensee; | Part B, Item 9(o) | Part B, Item 1(o) | Same condition in both licences. |  |
| a summary of any revisions to the approved: | Part B, Item 9(p) | N/A | From Main Licence. |  |
| Wastewater and Processed Kimberlite Management Plan and Waste Rock and Ore Storage Management Plan referred to in Part G of this Licence; and | Part B, Item 9(p)(i) | N/A | From Main Licence. |  |
| Contingency Plan, Hydrocarbon-Contaminated Materials Management Plan and Adaptive Management Plan referred to in Part I of this Licence. | Part B, Item 9(p)(ii) | Part B, Item 1(q) | Equivalent condition in both licences with respect to the Contingency Plan only; rest is from Main Licence only. |  |
| a summary of the results of the monitoring carried out under the Hydrocarbon-Contaminated Materials Management Plan and Adaptive Management Plan referred to in Part I, Items 5 and 6 of this Licence; | Part B, Item 9(q) | N/A | From Main Licence. |  |
| Spills and Unauthorized Discharges: |  |  |  |  |
| a list and description including volumes of all Unauthorized Discharges and summaries of follow-up action taken; | Part B, Item 9(r) | Part B, Item 1(r) | Same condition in both licences. |  |
| an outline of any spill training and communications exercises carried out; | Part B, Item 9(s) | Part B, Item 1(s) | Same condition in both licences. |  |
| Closure and Reclamation: |  |  |  |  |
| a summary of any amendments to the approved Interim or Final Closure and Reclamation Plan in accordance with Part K of this Licence; | Part B, Item 9(u) | Part B, Item 1(t) | E Same condition in both licences.equivalent condition in both licences. |  |
| a summary of any closure and reclamation work undertaken during the year and an outline of any work anticipated for the next year; | Part B, Item 9(v) | Part B, Item 1(u) | Same condition in both licences. |  |
| an updated estimate of the current mine reclamation liability (as at December 31 of the preceding year) using the current version of RECLAIM, its equivalent or some other method acceptable to the Board; | Part B, Item 9(w) | Part B, Item 1(v) | Same condition in both licences. |  |
| Other Reporting Requirements: |  |  |  |  |
| any other details on water use or Waste disposal requested by the Board by November 1st of the year being reported; and | Part B, Item 9(y) | Part B, Item 1(x) | Same condition in both licences. |  |
| a list of the techniques that will be used to analyze samples collected under the attached Surveillance Network Program during the following year. | Part B, Item 9(j) | N/A | From Main Licence. |  |
| The Licensee shall ensure a copy of this Licence is maintained at the site of operation at all times. | Part B, Item 14 | Part B, Item 8 | Same condition in both licences. |  |
| The Licensee shall comply with the Surveillance Network Program, which is annexed to and forms part of this Licence, and any amendment to the said Surveillance Network Program as may be made from time to time by the Board. | Part B, Item 10 | Part B, Item 3 | Same condition in both licences. |  |
| The attached Surveillance Network Program and any compliance dates specified in this Licence may be amended at the discretion of the Board. | Part B, Item 11 | Part B, Item 4 | Same condition in both licences. |  |
| Meters, devices or other such methods used for measuring the volumes of water used and Waste Discharged shall be installed, operated and maintained by the Licensee to the satisfaction of an Inspector. | Part B, Item 12 | Part B, Item 5 | Same condition in both licences. |  |
| The Licensee shall post and maintain signs to identify the stations listed in the attached Surveillance Network Program. All postings shall be located and maintained to the satisfaction of an Inspector. | Part B, Item 13 | Part B, Item 6 | Same condition in both licences. |  |
| The water use fee shall be paid annually in advance of any water use. | Part B, Item 2 | Part D, Item 4 | Main Licence language used. |  |
| Part C: Conditions Applying to Security Deposits |  |  |  |  |
| Prior to the use of water for industrial undertakings or the disposal of Waste and pursuant to section 17(1) of the Act and Section 12 of the Regulations, the Licensee shall have posted and shall maintain a security deposit according to the following: | Part B, Item 3 | Part C, Item 1 | Amalgamation of licences required changing some of the language of the Main Licence although there is no change in the meaning or the requirements of the Main Licence. |  |
| a security deposit of CDN $21,025,000; | Part B, Item 3 | N/A | See above. |  |
| interim security in the amount of CDN $56,000,000; | Part B, Item 3(a) | N/A | See above. |  |
| reclamation security in the amount of CDN $14,446,000 as required by Licence MV2001L2-0008 shall be returned to the Licensee upon the Licensee posting CDN $4,325,673 security for Beartooth pit; | N/A | Part C, Item 1(a) | Values for SPB Development have been changed based on evidence presented to Board. |  |
| reclamation security in the amount of CDN $4,019,232 shall be posted sixty (60) days prior to Construction commencing at the Sable pit; | N/A | Part C, Item 1(a) | Values for SPB Development have been changed based on evidence presented to Board. |  |
| reclamation security in the amount of CDN $1,260,481 shall be posted sixty (60) days prior to Construction commencing at the Pigeon pit; and | N/A | Part C, Item 1(a) | Values for SPB Development have been changed based on evidence presented to Board. |  |
| Any further amounts as may be required by the Board based on annual estimates of current mine reclamation liability in accordance with Part B, Item 1(w) of this Licence. | Part B, Item 3(b) | Part C, Item 1(b) | Main Licence language used. |  |
| The security deposit required under Part C, Item 1 shall be in a form acceptable to the Minister and shall be maintained until such time as they are fully or partially refunded by the Minister pursuant to section 17 of the Act. | Part B, Item 4 | Part C, Item 2 | Main Licence language used. |  |
| A reclamation trust fund may be established for the posting and maintenance of any security deposits required under Part C, Item 1 during the term of this Licence. The Licensee shall implement the terms of the reclamation trust agreements as accepted by the Minister. | Part B, Item 5 | N/A | Main Licence language used. |  |
| The Licensee may apply to the Board for a reduction in the amount of security required if there is a reduction in the total liability at the Project site. | Part B, Item 6 | Part C, Item 3 | Main Licence language used. |  |
| The Licensee shall be liable for any and all costs related to the closure and reclamation of the Project site over and above the total amount of the security deposits posted. | Part B, Item 7 | Part C, Item 4 | Main Licence language used. |  |
| Part C, Items 1 through 5 of this Licence shall survive the expiry of this Licence or renewals thereof and until full and final reclamation has been competed to the satisfaction of the Minister. | Part B, Item 8 | Part C, Item 2 | Main Licence language used. |  |
| Part D: Conditions Applying to Water Use |  |  |  |  |
| The Licensee shall obtain water for domestic purposes, processing, road watering and associated uses from Two Rock Lake, Grizzly Lake, Little Lake, Long Lake and Thinner Lake (Misery Camp), using the Water Supply Facilities or as otherwise approved by the Board. | Part C, Item 1 | N/A | From Main Licence. |  |
| The annual quantity of fresh water withdrawn for any purpose shall not exceed the limits set out below (in cubic metres): | Part C, Item 2 | Part D, Item 2 | Mail Licence language used. |  |
| Pigeon Pond 18, 500 | N/A | Part D, Item 2(a) | From Main Licence. |  |
| Sable Lake 393, 000 | N/A | Part D, Item 2(b) | From Main Licence. |  |
| Beartooth Lake 145, 000 | N/A | Part D, Item 2(c) | From Main Licence. |  |
| Two Rock Lake 143, 500 | N/A | Part D, Item 2(d) | From Main Licence. |  |
| Grizzly Lake 200, 000 | Part C, Item 2(a) | N/A | From SPB Licence. |  |
| Little Lake 400, 000 | Part C, Item 2(b) | N/A | From SPB Licence. |  |
| Thinner Lake 15, 000 | Part C, Item 2(c) | N/A | From SPB Licence. |  |
| The Licensee shall obtain water for road watering and associated uses from Two Rock Sedimentation Pond only if the water meets the effluent quality criteria established in Part D, Item 15(a) and 15(b) of this water Licence, or as otherwise approved by the Board. | N/A | Part D, Item 1 | From SPB Licence |  |
| The freshwater intake pumps shall operate in accordance with the Fisheries and Oceans Canada Freshwater Intake End-of-Pipe Fish Screen Guideline, 1995, or subsequent editions. | Part C, Item 3 | Part D, Item 3 | Wording has been modified to improve clarity. |  |
| The Drawdown of Little Lake shall not exceed one metre from the water level recorded immediately prior to the start-up of the sampling plant. | Part C, Item 5 | N/A | Mail Licence language used. |  |
| The Drawdown of Grizzly Lake and Thinner Lake (Misery Camp) shall not exceed one (1) metre from the water level recorded immediately prior to the start-up of the process plant. | Part C, Item 4 | N/A | Mail Licence language used. |  |
| PART E: Conditions Applying to Dewatering and Drawdown |  |  |  |  |
| Prior to the commencement of Dewatering or Drawdown, excluding the Drawdown of Grizzly Lake, Little Lake and Thinner Lake, the Licensee shall submit to the Board for approval, a Dewatering or Drawdown Plan for each lake that shall include, but not be limited to, the following information: | Part D, Item 1 | Part E, Item 2 | Main Licence language used. |  |
| volume of water produced by Dewatering or Drawdown from each source; | Part D, Item 1(a) | Part E, Item 2(a) | Same condition in both licences. |  |
| a schedule for Dewatering and Drawdown and maximum pump rates; | Part D, Item 1(b) | Part E, Item 2(c) | Same condition in both licences. |  |
| pumping methods including locations of intake and outflow structures; | Part D, Item 1(c) | Part E, Item 2(d) | Same condition in both licences. |  |
| the design of any erosion prevention structures in the areas where water or Waste is Discharged; | Part D, Item 1(d) | Part E, Item 2(e) | Main Licence language used. |  |
| the description of procedures for inspecting any erosion along the affected watercourse; | Part D, Item 1(e) | Part E, Item 2 (e) and (f) | Main Licence language used. |  |
| a description of and mitigation measures for any predicted hydrological or water quality impacts to downstream water bodies; | Part D, Item 1(f) | Part E, Item 2(k) | Main Licence language used. |  |
| the schedule and locations for water quality monitoring; | Part D, Item 1(g) | Part E, Item 2(g) | Main Licence language used. |  |
| the frequency, location and procedures for monitoring flow rates in the Discharge stream and in the receiving water body; | Part D, Item 1(h) | Part E, Item 2(g) | Main Licence language used. |  |
| the design of the pipeline and related facilities; and | Part D, Item 1(i) | Part E, Item 2(i) | Same condition in both licences. |  |
| the procedures and rates for Dewatering or Drawdown to minimize erosion of the downstream water bodies, adjacent shorelines and, in winter, damage to spawning habitat from the development of icings, overflows or glaciation. | Part D, Item 1(j) | Part E, Item 2(j) | Main Licence language used. |  |
| The Licensee shall implement the Dewatering or Drawdown Plan referred to in Part E, Item 1, as and when approved by the Board. | Part D, Item 2 | Part E, Item 3 | Same condition in both licences. |  |
| Prior to Dewatering or Drawdown, each water source shall be sampled and analyzed for those parameters outlined in Part G, Item 15(a) and (15(b) and results shall be provided to an Inspector before Dewatering or Drawdown commences. | Part D, Item 3 | Part E, Items 4 and 5 | Main Licence language used. |  |
| All Discharge outflow structures shall be located so as to minimize erosion. | Part D, Item 4 | Part E, Item 6 | Same condition in both licences. |  |
| During the Dewatering or Drawdown of any lake, daily erosion inspections of the Discharge points shall be carried out and records of these inspections shall be kept for review upon the request of an Inspector. If any erosion is observed, the Licensee shall notify an Inspector, and take the necessary corrective action to mitigate the erosion problem to the satisfaction of an Inspector. | Part D, Item 5 | Part E, Item 7 | Same condition in both licences. |  |
| The Licensee shall ensure that Drawdown rates from pumps do not exceed 2.55 m3/sec during May to July inclusive, and 0.52 m3/sec during the remaining months. | Part D, Item 6 | Part E, Item 8 | Main Licence language used. |  |
| The Licensee shall submit to the Board and an Inspector, within sixty (60) days of the completion of Dewatering or Drawdown of any water source, excluding Grizzly Lake Little Lake and Thinner Lake, a summary report that shall include, but not be limited to, the following: | Part D, Item 7 | Part E, Item 9 | Same condition in both licences. |  |
| the metered daily, monthly, and total Discharge rates; | Part D, Item 7(a) | Part E, Item 9(a) | Same condition in both licences. |  |
| a description of any erosional problems encountered and mitigative actions taken; | Part D, Item 7(b) | Part E, Item 9(b) | Main Licence language used. |  |
| the results of water quality monitoring and compliance with the regulated water quality requirements; | Part D, Item 7(c) | Part E, Item 9(c) | Main Licence language used. |  |
| a summary of any impacts to the Receiving Environment resulting from Dewatering or Drawdown activities; | Part D, Item 7(d) | Part E, Item 9(d) | Main Licence language used. |  |
| Part F: Conditions Applying to Construction |  |  |  |  |
| At least ten (10) days prior to Construction of any facilities related to water use or Waste disposal for the Project, excluding Sumps, that are included in an approved Management Plan, the Licensee shall submit to the Board design drawings stamped by a Professional Engineer, a Construction schedule and any information required under Part F, Item 2 of this Licence that was not included in an approved Management Plan. | Part E, Item 1 | N/A | Main Licence language used. |  |
| At least forty-five (45) days prior to the start of Construction, or ninety (90) in the case of the Pigeon Stream Diversion Channel, of any facilities related to water use or Waste disposal for the Project, excluding Sumps, that are not part of a Board approved Management Plan, the Licensee shall submit to the Board for approval a Construction Plan that shall contain, but not be limited to, the following information: | Part E, Item 2 | Part F, Item 2, 4 and 8 | Main Licence language used. |  |
| a description of the facilities to be constructed; | Part E, Item 2(a) | Part F, Item 2 | Main Licence language used. |  |
| the proposed location for the structures; | Part E, Item 2(b) | N/A | Main Licence language used. |  |
| any potential impacts to the aquatic environment; | Part E, Item 2(c) | N/A | Main Licence language used. |  |
| a description of any monitoring including, but not limited to, sampling locations, parameters measured and frequencies of sampling to be carried out to determine impacts to the aquatic environment; | Part E, Item 2(d) | N/A | Main Licence language used. |  |
| a detailed description of any measures used to prevent or mitigate impacts to the aquatic environment; | Part E, Item 2(e) | Part F, Item 2(a) | Main Licence language used. |  |
| schedule for the Construction; | Part E, Item 2(f) | Part F, Item 2 | Main Licence language used. |  |
| drawings of engineered structures stamped by a Professional Engineer; and | Part E, Item 2(g) | Part F, Item 2 | Main Licence language used. |  |
| in the case of the Pigeon Stream Diversion Channel, the details of measures to prevent degradation of permafrost and/or ice lenses. | N/A | Part F, Item 12 | This condition only applies to the SPB Development. |  |
| Dams, dykes or structures designed to contain, withhold, divert or retain water or Wastes constructed as part of the Sable, Pigeon and Beartooth Development must comply with the Dam Safety Guidelines. | N/A | Part F, Item 2 | This condition only applies to the SPB Development. |  |
| The Inspector must receive written notification a minimum of ten (10) days prior to commencement of Construction at the Sable, Pigeon and Beartooth Development from the Licensee. | N/A | Part F, Item 3 | This condition only applies to the SPB Development. |  |
| The Licensee shall ensure that Construction of engineered structures is supervised by a Professional Engineer. | Part E, Item 3 | Part F, Item 10 | Main Licence language used. |  |
| The Licensee shall, within ninety (90) days of completion of any Construction of engineered structures related to water use and Waste disposal for the Project, excluding the Construction of Sumps, submit to the Board a report prepared by a Professional Engineer that shall include as-built drawings, documentation of field decisions that deviate from original plans and any data used to support these decisions. | Part E, Item 4 | Part F, Item 6 and 10 | Main Licence language used. |  |
| The Licensee shall undertake and submit to the Board, the results of a comprehensive delineation program to identify soil, rock and ground ice conditions prior to the start of Construction along the centreline of all containment structures and diversion channels related to the Sable, Pigeon and Beartooth Development. | N/A | Part F, Item 7 | This condition only applies to the SPB Development. |  |
| Part G: Conditions Applying to Waste Disposal |  |  |  |  |
| Wastewater and Processed Kimberlite Management Plan | Part F, Item 1 | Part G, Item 1 | Same condition in both licences. |  |
| The Licensee shall operate in accordance with the Wastewater and Processed Kimberlite Management Plan as approved by the Board. Amendments to the Plan shall be in accordance with the NWT Water Board’s “Guidelines for Tailings Impoundment in the Northwest Territories, February 1987” or any subsequent editions, which shall include, but not be limited to the following: | Part F, Item 1(a) | Part G, Item 1(a) | Main Licence language used. |  |
| a comprehensive description of all sources and types of Waste related to the project where not provided in the Acid/Alkaline Rock Drainage (ARD) and Geochemical Characterization Plan, or the Waste Rock and Ore Storage Management Plan as approved by the Board, | Part F, Item 1(a)(i) | Part G, Item 1(a)(i) | Main Licence language used. |  |
| a description of any proposed physical or chemical treatment of Waste prior to Discharge to the Long Lake Containment Facility, the King Pond Settling Pond, the Phase 1 Tailings Containment Area, Two Rock Sedimentation Pond, or to the Receiving Environment, | Part F, Item 1(a)(ii) | Part G, Item 1(a)(ii) | Main Licence language used; updated to include SPB Development. |  |
| a description, including maps to scale, of the locations of monitoring stations for ground temperature, water quality, water Discharge and Processed Kimberlite elevation, including the sampling protocols and frequency to be undertaken at each station, | Part F, Item 1(a)(iii) | Part G, Item 1(a)(ii) | Main Licence language used. |  |
| a schedule of Processed Kimberlite Discharge within the Long Lake Containment Facility over the term of this Licence, including detailed maps showing deposition locations, | Part F, Item 1(a)(iv) | N/A | Main Licence language used. |  |
| stage-volume curves and water balance calculations showing life expectancy of the Long Lake Containment Facility and Two Rock Sedimentation Pond, | Part F, Item 1(a)(v) | Part G, Item 1(a)(xi)(6) | Main Licence language used; updated to include SPB Development. |  |
| an anticipated schedule of volumes of Discharge to and from the Two Rock Sedimentation Pond and Kind Pond Settling Pond, | Part F, Item 1(a)(vi) | Part G, Item 1(a)(iv) | Main Licence language used; updated to include SPB Development. |  |
| a series of contingencies should Two Rock Sedimentation Pond approach or exceed capacity, and | N/A | Part G, Item 1(a)(v) | This condition only applies to the SPB Development. |  |
| any operational changes and Modifications, which may impact the Wastewater and Processed Kimberlite Management Plan; | Part F, Item 1(a)(vii) | Part G, Item 1(a)(vi) | Same condition in both licences. |  |
| The Licensee shall submit to the Board for approval, sixty (60) days prior to the Construction of both, the Sable and Pigeon pits, an updated Wastewater and Processed Kimberlite Management Plan. | N/A | N/A | This condition only applies to the SPB Development. |  |
| Acid/Alkaline Rock Drainage (ARD) and Geochemical Characterization and Management Plan | Part F, Item 2 | Part G, Item 2 | Same condition in both licences. |  |
| The Licensee shall operate in accordance with the Acid/Alkaline Rock Drainage and Geochemical Characterization and Management Plan for managing non-neutral drainage and metal leaching, as approved by the Board. The plan shall be in accordance with the Department of Indian Affairs and Northern Development’s DIAND "Guidelines for Acid Rock Drainage Protection in the North, September 1992" or subsequent updates, and shall include, but not be limited to, the following: | Part F, Item 2(a) | Part G, Item 2(a) | Language updated to reflect the fact that these plans have been approved since the last licences were written. |  |
| characterization of the rock types, geology and mineralogy of the rock units for each mine component including each pit or pipe or mine workings, the quantity of rock, Waste or sludge, or the surface area exposure in pit walls, | Part F, Item 2(a)(i) | Part G, Item 2(a)(i) | Same condition in both licences. |  |
| representative sampling and testing of each rock unit, | Part F, Item 2(a)(ii) | Part G, Item 2(a)(ii) | Same condition in both licences. |  |
| assessment of potential for Acid/Alkaline Rock Drainage and for metal leaching from ore stockpiles, Waste Rock and pit wall rock, both during operation and after closure, | Part F, Item 2(a)(iii) | Part G, Item 2(a)(iii) | Same condition in both licences. |  |
| representative sampling and testing of Processed Kimberlite, | Part F, Item 2(a)(iv) | N/A | Main Licence language used. |  |
| description of predicted loadings and/or impact on receiving water chemistry from each source, incorporating the results of Seepage surveys where available, | Part F, Item 2(a)(vi) | Part G, Item 2(a)(iv) | Same condition in both licences. |  |
| geochemical characterization of material to be used for reclamation, and | Part F, Item 2(a)(vii) | Part G, Item 2(a)(v) | Same condition in both licences. |  |
| description of the process to be used to regularly assess and amend the plans based on on-going data collection through this program or through the attached Surveillance Network Program, the Aquatic Effects Monitoring Program, Seepage Surveys, or other environmental monitoring programs; | Part F, Item 2(a)(viii) | N/A | Main Licence language used. |  |
| The Licensee shall submit an updated Acid/Alkaline Rock Drainage and Geochemical Characterization Management Plan to the Board for approval, sixty (60) days prior to the Construction of both the Sable and Pigeon pits. | N/A | N/A | This condition only applies to the SPB Development. |  |
| Waste Rock and Ore Storage Management Plan | Part F, Item 3 | Part G, Item 3 | Same condition in both licences. |  |
| The Licensee shall operate in accordance with the Waste Rock and Ore Storage Management Plan, as approved by the Board. Any amended versions of this plan shall include, but not be limited to the following: | Part F, Item 3(a) | Part G, Item 3(a) | Main Licence language used. |  |
| a schedule of ore stockpiling, and Coarse Kimberlite Reject Material and Waste Rock production by rock type, tonnage, and destination over the term of this Licence, | Part F, Item 3(a)(i) | Part G, Item 3(a)(i) | Main Licence language used. |  |
| a complete description, including site maps to scale, of each proposed ore and Waste Rock Storage Area, | Part F, Item 3(a)(ii) | Part G, Item 3(a)(iii) | Main Licence language used. |  |
| detailed descriptions of the different types of solid Waste disposed of and the locations for the disposal of solid Waste and sewage sludge with the Waste Rock Storage Area, | Part F, Item 3(a)(iii) | Part G, Item 3(a)(ii) | Main Licence language used. |  |
| an identification of all potential sources of Seepage for each Waste Rock Storage Area and the distance to the downstream Receiving Environment, | Part F, Item 3(a)(iv) | Part G, Item 3(a)(iv) | Main Licence language used. |  |
| detailed proposals for management of Seepage, including water quality monitoring, collection, treatment, re-routing and final disposal and for incorporating the studies and plans developed under Part G, Item 4 of this Licence, | Part F, Item 3(a)(v) | Part G, Item 3(a)(v) | Main Licence language used. |  |
| detailed Construction plans and drainage management for Waste Rock Storage Areas used for containment of the Misery schist, and other Waste rock types that may be identified as problematic through Acid/Alkaline Rock Drainage testing, including contingency plans for controlling runoff and Seepage water chemistry, | Part F, Item 3(a)(vi) | Part G, Item 3(a)(vi) | Main Licence language used. |  |
| temperature analysis of all Waste Rock Storage Areas having acid/alkaline potential to include the effect of oxidation reactions on predicted Acid/Alkaline Rock Drainage generation rates, | Part F, Item 3(a)(vii) | Part G, Item 3(a)(vii) | Main Licence language used. |  |
| detailed descriptions of how Seepage surveys will be carried out to meet the requirements of Part G, Item 4, and | Part F, Item 3(a)(viii) | N/A | From Main Licence. |  |
| in the case of the Sable and Pigeon pit, a description of the geochemical criteria for the management and placement of potentially ARD Waste rock and hydrocarbon contaminated materials within the Waste rock dumps. This shall include a section describing the process for segregation of the various rock types; | N/A | Part G, Item 3(a)(viii) | This condition only applies to the SPB Development. |  |
| The Licensee shall submit an updated Waste Rock and Ore Storage Management Plan to the Board for approval, sixty (60) days prior to the Construction of Sable and Pigeon pit. | N/A | N/A | This condition only applies to the SPB Development. |  |
| During the term of this Licence, the Licensee shall conduct a Seepage survey of all constructed ore stockpiles or Waste Rock Storage Areas on the following basis: | Part F, Item 4 | Part G, Item 3(b) | Same condition in both licences. |  |
| sampling of detected Seepage twice per year; once during spring freshet, and again in late summer or fall; | Part F, Item 4(a) | Part G, Item 3(b)(i) | Same condition in both licences. |  |
| testing in the field shall include measurements of volume and rate of flow, field pH and conductivity; | Part F, Item 4(b) | Part G, Item 3(b)(ii) | Same condition in both licences. |  |
| laboratory analysis of each sample shall include Major Ions (as defined in the attached Surveillance Network Program), pH, conductivity, sulphate, alkalinity/acidity, nitrogen as total ammonia, hardness, total suspended solids (TSS), and dissolved metals by inductively coupled plasma (ICP) mass spectrometry; | Part F, Item 4(c) | Part G, Item 3(b)(iii) | Main Licence language used. |  |
| laboratory analysis of Seepage samples in areas down gradient of the land farm, Contaminated Snow Containment Facility, and the racetrack shall include TPH and BTEX as defined in the attached Surveillance Network Program; | Part F, Item 4(d) | N/A | From Main Licence. |  |
| all data collected is to be reported to the Board within sixty (60) days of each survey; and | Part F, Item 4(e) | Part G, Item 3(b)(iv) | Main Licence language used. |  |
| a report interpreting the results of both surveys shall be submitted to the Board for approval within sixty (60) days of the completion of the second survey, and shall include site plans indicating the locations of Seepage, the Quality Assurance/Quality control (QA/QC) protocols used, and a consideration of how the results will affect the Waste Rock and Ore Storage Management Plan required under Part G, Item 3. | Part F, Item 4(f) | Part G, Item 3(b)(iv) | Main Licence language used. |  |
| Prior to the start of Construction of a Waste Rock Storage Area for each of the Sable and Pigeon pits, the Licensee shall submit to the Board a final detailed design report stamped by a Professional Engineer. This report shall include geothermal and short-term stability analyses, and be developed in accordance with the Waste Rock and Ore Storage Management Plan as described in Part G, Item 3. | N/A | Part G, Item 4 | This condition only applies to the SPB Development. |  |
| If the Plans referred to in Part G, Items 1, 2 and 3, and the report referred to in Part G, Item 4(f) are not approved by the Board, the Licensee shall revise the plans and re-submit them to the Board for approval within three (3) months of receiving notification of the Board’s decision. | Part F, Item 5 | Part G, Item 5 | Main Licence language used. |  |
| The Licensee shall implement the Management Plans referred to in Part G, Items 1, 2 and 3 as and when approved by the Board. | Part F, Item 6 | Part G, Item 6 | Same condition in both licences. |  |
| The Licensee shall review the Management Plans referred to in Part G, Items 1, 2 and 3, annually and modify as necessary to reflect changes in operation and technology, or as requested by the Board. Any proposed amendments to the plans shall be submitted to the Board for approval. | Part F, Item 7 | Part G, Item 7 | Main Licence language used. |  |
| Two Rock Sedimentation Pond: | N/A | Part G, Item 8 |  |  |
| the Licensee shall construct, operate and maintain Two Rock Sedimentation Pond to engineering standards such that: | N/A | Part G, Item 8(a) | This condition only applies to the SPB Development. |  |
| a minimum Freeboard limit of 1.0 metre shall be maintained at all times or as recommended by a Professional Engineer and as approved by the Board, | N/A | Part G, Item 8(a)(i) | This condition only applies to the SPB Development. |  |
| Seepage from the Two Rock Sedimentation Pond outlet dam is minimized at all times, | N/A | Part G, Item 8(a)(ii) | This condition only applies to the SPB Development. |  |
| any Seepage that occurs and does not meet effluent quality requirements, as specified in Part G, Item 15(b), shall be collected and immediately returned to the Two Rock Sedimentation Pond, | N/A | Part G, Item 8(a)(iii) | This condition only applies to the SPB Development. |  |
| any constructed facilities that are eroded are repaired immediately, and | N/A | Part G, Item 8(a)(iv) | This condition only applies to the SPB Development. |  |
| when not used for reclamation material, the solids fraction of the Sable Lake sediments and the solids fraction of the Wastes deposited, shall be permanently contained within the Two Rock Sedimentation Pond; | N/A | Part G, Item 8(a)(v) | This condition only applies to the SPB Development. |  |
| inspections of Two Rock Sedimentation Pond, pipeline(s), and catchment basin(s) shall be carried out weekly when operating or more frequently as directed by the Inspector and records of these inspections shall be kept for review; and | N/A | Part G, Item 8(b) | This condition only applies to the SPB Development. |  |
| an inspection of Two Rock Sedimentation Pond shall be carried out annually by a Professional Engineer. The engineer’s report shall be submitted to the Board within thirty (30) days of the inspection, including a covering letter from the Licensee outlining an implementation plan to respond to the engineer’s recommendations. | N/A | Part G, Item 8(c) | This condition only applies to the SPB Development. |  |
| Long Lake Containment Facility | Part F, Item 8 | N/A | From Main Licence. |  |
| the Licensee shall construct, operate and maintain the Long Lake Containment Facility to design specifications such that: | Part F, Item 8(a) | N/A | From Main Licence. |  |
| a minimum Freeboard limit of 5.5 metres (including 1.5 metres of Frozen Core and 4.0 metres of embankment material) for the perimeter dams shall be maintained at all times; | Part F, Item 8(a)(i) | N/A | From Main Licence. |  |
| a Freeboard limit of 1.0 metre for the intermediate dykes shall be maintained at all times or as recommended be a Professional Engineer; | Part F, Item 8(a)(ii) | N/A | From Main Licence. |  |
| Seepage from the Long Lake Containment facility is minimized at all times; | Part F, Item 8(a)(iii) | N/A | From Main Licence. |  |
| any Seepage that occurs and does not meet effluent quality requirements as specified in Part G, Item 15(a), shall be collected and immediately returned to the Long Lake Containment Facility; | Part F, Item 8(a)(iv) | N/A | From Main Licence. |  |
| any constructed facilities that are eroded are repaired immediately; | Part F, Item 8(a)(v) | N/A | From Main Licence. |  |
| the solids fraction of all Processed Kimberlite deposited in the Long Lake Containment Facility shall be permanently contained; | Part F, Item 8(a)(vi) | N/A | From Main Licence. |  |
| weekly inspections of the Long Lake Containment Facility shall be carried out in consultation with a Professional Engineer and records of these inspections shall be kept for review. The Licensee shall perform more frequent inspections at the request of an Inspector; and | Part F, Item 8(a)(vii) | N/A | From Main Licence. |  |
| an inspection of the Long Lake Containment Facility shall be carried out annually in July by a Professional Engineer. The engineer’s report shall be submitted to the Board within thirty days of the inspection, including a covering letter from the Licensee outlining an implementation plan to respond to any recommendations made by the engineer. | Part F, Item 8(a)(viii) | N/A | From Main Licence. Minor wording change with no effect on Main Licence |  |
| Phase 1 Tailings Containment Area | Part F, Item 9 | N/A | From Main Licence. |  |
| the Licensee shall construct, operate and maintain the Phase 1 Tailings Containment Area to design specifications such that: | Part F, Item 9(a) | N/A | From Main Licence. |  |
| a minimum Freeboard limit of 1.0 metre shall be maintained at all times or as recommended by a Professional Engineer; | Part F, Item 9(a)(i) | N/A | From Main Licence. |  |
| Seepage from the Phase 1 Tailings Containment Area is minimized at all times; | Part F, Item 9(a)(ii) | N/A | From Main Licence. |  |
| any Seepage from the Phase 1 Tailings Containment Area that occurs and does not meet effluent quality requirements as specified in Part G, Item 15(a) shall be collected and immediately returned to the Phase 1 Tailings Containment Area; | Part F, Item 9(a)(iii) | N/A | From Main Licence. |  |
| any constructed facilities that are eroded are repaired immediately; | Part F, Item 9(a)(iv) | N/A | From Main Licence. |  |
| inspections of the Phase 1 Tailings Containment Area shall be carried out regularly in consultation with a Professional Engineer and records of these inspections shall be kept for review. The Licensee shall perform more frequent inspections at the request of an Inspector; and | Part F, Item 9(a)(v) | N/A | From Main Licence. |  |
| an inspection of the Phase 1 Tailings Containment Area shall be carried out annually in July by a Professional Engineer. The engineers report shall be submitted to the Board within thirty days of the inspection, including a covering letter from the Licensee outlining an implementation plan to respond to any recommendations made by the engineer. | Part F, Item 9(a)(vi) | N/A | From Main Licence. Minor wording change with no effect on Main Licence |  |
| Collection and Settling Ponds | Part F, Item 10 | N/A | From Main Licence. |  |
| the Licensee shall construct, operate and maintain the Collection and Settling Ponds to design specifications such that: | Part F, Item 10(a) | N/A | From Main Licence. |  |
| a minimum Freeboard limit of 1.0 metre shall be maintained at all times or as recommended by a Professional Engineer; | Part F, Item 10(a)(i) | N/A | From Main Licence. |  |
| Seepage from the Collection and Settling Ponds is minimized at all times; | Part F, Item 10(a)(ii) | N/A | From Main Licence. |  |
| any Seepage from the Collection and Settling Ponds that occurs and does not meet effluent quality requirements, as specified in Part G, Items 15(a) and 15(b), shall be collected and immediately returned to the Collection and Settling Ponds, the Long Lake Containment Facility, the Two Rock Sedimentation Pond, the process plant or another location approved by the Board; | Part F, Item 10(a)(iii) | N/A | From Main Licence. |  |
| any constructed facilities that are eroded are repaired immediately; | Part F, Item 10(a)(vi) | N/A | From Main Licence. |  |
| inspections of the Collection and Settling Ponds shall be carried out regularly in consultation with a Professional Engineer and records of these inspections shall be kept for review. The Licensee shall perform more frequent inspections at the request of an Inspector; and | Part F, Item 10(a)(v) | N/A | From Main Licence. |  |
| an inspection of the Collection and Settling Ponds shall be carried out annually in July by a Professional Engineer. The engineers report shall be submitted to the Board within thirty days of the inspection, including a covering letter from the Licensee outlining an implementation plan to respond to any recommendations made by the engineer. | Part F, Item 10(a)(vi) | N/A | From Main Licence. Minor wording change with no effect on Main Licence |  |
| King Pond Settling Pond | Part F, Item 11 | N/A | From Main Licence. |  |
| the Licensee shall construct, operate and maintain the King Pond Settling Pond to design specifications such that: | Part F, Item 11(a) | N/A | From Main Licence. |  |
| a minimum Freeboard limit of 1.0 metre shall be maintained at all times or as recommended by a Professional Engineer; | Part F, Item 11(a)(i) | N/A | From Main Licence. |  |
| Seepage from the King Pond Settling Pond is minimized at all times; | Part F, Item 11(a)(ii) | N/A | From Main Licence. |  |
| any Seepage from the King Pond Settling Pond that occurs and does not meet effluent quality requirements, as specified in Part G, Item 15(a), shall be collected and immediately returned to the King Pond Settling Pond; | Part F, Item 11(a)(iii) | N/A | From Main Licence. |  |
| any constructed facilities that are eroded are repaired immediately; | Part F, Item 11(a)(iv) | N/A | From Main Licence. |  |
| inspections of the King Pond Settling Pond shall be carried out regularly in consultation with a Professional Engineer and records of these inspections shall be kept for review. The Licensee shall perform more frequent inspections at the request of an Inspector; and | Part F, Item 11(a)(v) | N/A | From Main Licence. |  |
| an inspection of the King Pond Settling Pond shall be carried out annually in July by a Professional Engineer. The engineers report shall be submitted to the Board within thirty (30) days of the inspection, including a covering letter from the Licensee outlining an implementation plan to respond to to any recommendations made by the engineer.. | Part F, Item 11(a)(vi) | N/A | From Main Licence. Minor wording change with no effect on Main Licence |  |
| The Licensee shall provide water sampling results to an Inspector no later than five (5) days prior to any planned Discharges of water or Waste to the Receiving Environment. Discharge shall not commence until authorized by an Inspector. | Part F, Item 12 | Part G, Item 9 | Main Licence language used. |  |
| Effluent Quality Requirements | Part F, Item 13 | Part G, Item 11 | Main Licence language used. |  |
| All water or Waste from the Project that enters the Receiving Environment, including all Discharges from Surveillance Network Program Stations 1616-30 and 1616-43, but excluding those Discharges listed in Part G, Items 15(b) and 19, shall meet the following effluent quality requirements: Parameter Maximum Average Concentration (mg/L) Maximum Concentration of Any Grab Sample (mg/L) Total Ammonia 2.0 4.0 Total Aluminum 1.0 2.0 Total Arsenic 0.50 0.10 Total Copper 0.1 0.2 Total Nickel 0.15 0.3 Total Suspended Solids 15.0 25.0 Total Petroleum Hydrocarbons 3.0 5.0 Biochemical Oxygen Demand 40.0 - | Part F, Item 13(a) | N/A | Main Licence language used except for the exclusion: “…but excluding those Discharges listed in Part G, Items 15(b) and 19…”. Please note that, the Effluent Quality Requirements for that part of the EKATI Mine originally covered by the Main Licence have not changed. |  |
| All water or Waste from the Sable Development that enters the Receiving Environment, including Discharges from Surveillance Network Program Station 0008-Sa3, shall meet the following effluent quality requirements: Parameter Maximum Average Concentration (mg/L) Maximum Concentration of Any Grab Sample (mg/L) Total Ammonia Total Aluminum 1.0 2.0 Total Arsenic 0.050 0.10 Total Copper 0.02 0.04 Total Cadmium 0.0015 0.003 Total Chromium 0.02 0.04 Total Lead 0.01 0.02 Total Zinc Total Nickel 0.05 0.1 Nitrite 1.0 2.0 Nitrate Total Suspended Solids 15 25 Turbidity 10 NTU 15 NTU Total Phosphorus 0.2 0.4 | N/A | Part G, Item 11(a) and (d) and Part G, Item 13 | The language of this condition is more concise than the equivalent condition in the SPB Licence due to the use of the defined terms “Waste” and “Discharge”. Note that there are two paragraphs in Part G, Item 11(d) that have been moved to separate conditions below: The requirement for Acute Toxicity testing is now in Part G, Item 15(e) and the required pHs of the Discharge is now specified in Part G, Item 15(d). Board Staff are still in the process of verifying the EQC for Ammonia, Zinc and Nitrate. |  |
| Any water or Waste from the Project that enters the Receiving Environment shall have a pH between 6.0 and 9.0, except surface runoff which shall have a pH between 5.0 and 9.0; and | Part F, Item 13(b) | Part G, Item 11(d) | Main Licence language used. |  |
| All water or Waste from the Project that enters the Receiving Environment, including Discharges from Surveillance Network Program Station 1616-30, 1616-43, and 0008-Sa3, shall be non-acutely toxic as determined by the acute toxicity tests described in Part B in the attached Surveillance Network Program. | Part F, Item 13(c) | Part G, Item 11(d) | Main Licence language used. |  |
| The Licensee shall direct all piped and pumped Sewage to the Sewage Treatment Facilities, or as otherwise approved by the Board. | Part F, Item 13(d) | Part G, Item 11(e) | Main Licence language used |  |
| All surface runoff during the Construction of any facilities, related to the Sable, Pigeon and Beartooth Development, designed to withhold, divert, or retain such runoff up to the end of Construction, as per the Construction plan, shall prior to Discharge meet the criteria mentioned in Part G, Item 15(b) except for the following criterion: Parameter Maximum Average Concentration Maximum Concentration of Any Grab Sample TSS 50 mg/L 100mg/L | N/A | Part G, Item 11(f) | This condition only applies to the SPB Development. |  |
| The Licensee shall direct all water or Waste from the Project that does not meet the effluent quality criteria specified under Part G, Items 15(a) and 15(b) to the Long Lake Containment Facility, the King Pond Settling Pond or the Two Rock Sedimentation Pond, or as otherwise approved by the Board. | Part F, Item 14 | Part G, Item 11(c) | Main Licence language used; updated to include SPB Development. |  |
| Erosion Mitigation: | Part F, Item 15 | N/A | From Main Licence. |  |
| erosion prevention structures that are satisfactory to an Inspector shall be used at all points where water or Waste is Discharged; | Part F, Item 15(a) | N/A | From Main Licence. |  |
| daily erosion inspections of Discharge points shall be carried out and records of these inspections shall be kept for review upon the request of an Inspector. If any erosion is observed, the Licensee shall notify an Inspector and take necessary corrective action to mitigate the erosion problem to the satisfaction of an Inspector. | Part F, Item 15(b) | N/A | From Main Licence. |  |
| The annual volumes of Discharge from Two Rock Sedimentation Pond shall not exceed 740,600 cubic metres per year during the operations phase. | N/A | Part G, Item 14 | This condition only applies to the SPB Development. |  |
| At least one year prior to commencing Discharge from Two Rock Sedimentation Pond, the Licensee shall submit to the Board, for approval, a report detailing the final proposed design of the outfall from Two Rock Sedimentation Pond into Horseshoe Lake. This report should include, at a minimum, the following information: | N/A | N/A |  |  |
| the specifications of the proposed Discharge pipeline and the diffuse, if used; | N/A | N/A |  |  |
| the location of the end of pipe within Horseshoe Lake and a detailed rationale for selection of that location; | N/A | N/A |  |  |
| the results of modeling the initial mixing of effluent into Horseshoe Lake based on the selected placement and specifications of the outfall; | N/A | N/A |  |  |
| a proposed location for Surveillance Monitoring Program Station 0008-Sa9 that will allow verification of the model of initial effluent mixing in Horseshoe Lake; | N/A | N/A |  |  |
| the design for a plume delineation study to confirm initial effluent mixing in Horseshoe Lake. | N/A | N/A |  |  |
| Within eight months of beginning of Discharge from Two Rock Sedimentation Pond, the Licensee shall submit to the Board the results of a plume delineation study designed to describe dispersion of effluent into Horseshoe Lake from Two Rock Sedimentation Pond. This study should, at a minimum, be performed under worse-case conditions with respect to mixing within Horseshoe Lake and will be used to verify the Surveillance Network Program location proposed in Part G, Item 21(d). The location of Surveillance Network Program Station 0008-Sa9 may be moved as a result of this study. | N/A | N/A |  |  |
| PART H: Conditions Applying to Modifications |  |  |  |  |
| The Licensee may, without written approval from the Board, carry out Modifications to facilities related to water use or Waste disposal provided that such Modifications are consistent with the terms of this Licence and the following requirements are met: | Part G, Item 1 | Part H, Item 1 | Main Licence language used. |  |
| the Licensee has notified the Board in writing of such proposed Modifications at least forty-five (45) days prior to beginning the Modifications; | Part G, Item 1(a) | Part H, Item 1(a) | Same condition in both licences. |  |
| such Modifications do not place the Licensee in contravention of either the Licence or the Act; | Part G, Item 1(b) | Part H, Item 1(b) | Same condition in both licences. |  |
| the Board has not, during the forty-five (45) days following notification of the proposed Modifications, informed the Licensee that review of the proposal will require more than forty-five (45) days; | Part G, Item 1(c) | Part H, Item 1(c) | Same condition in both licences. |  |
| the Board has not rejected the proposed Modifications; and | Part G, Item 1(d) | Part H, Item 1(d) | Same condition in both licences. |  |
| an Inspector has authorized the Modifications. | Part G, Item 1(e) | N/A | From Main Licence. |  |
| Modifications for which all of the conditions referred to in Part H, Item 1, have not been met, may be carried out only with written approval from the Board. | Part G, Item 2 | Part H, Item 2 | Same condition in both licences. |  |
| The Licensee shall provide to the Board, stamped and signed as-built plans and drawings of the Modifications referred to in Part H, Item1 of this Licence prepared by a Professional Engineer within ninety (90) days of completion of the Modifications. | Part G, Item 3 | Part H, Item 3 | Same condition in both licences. Minor wording change for clarity. |  |
| PART I: Conditions Applying to Contingency Planning |  |  |  |  |
| The Licensee shall review and update the Board approved Contingency Plan as necessary to reflect changes in operation and technology and sixty (60) days prior to the Construction of the Sable and Pigeon pits. Any proposed amendments shall be in accordance with the NWT Water Board's "Guidelines for Contingency Planning, January 1987," or subsequent editions, and shall be submitted to the Board for approval. | Part H, Item 1 | Part J, Items 1 and 3 | Main Licence language used; updated to include SPB Development. |  |
| If not approved by the Board, the Contingency Plan referred to in Part I, Item 1 shall be revised and resubmitted within thirty (30) days of receiving notification of the Board’s decision. | Part H, Item 2 | Part J, Item 2 | Same condition in both licences. |  |
| If, during the period of this Licence, an Unauthorized Discharge occurs or is foreseeable, the Licensee shall: | Part H, Item 3 | Part J, Item 4 | Main Licence language used. |  |
| implement the Contingency Plan; | Part H, Item 3(a) | Part J, Item 4(a) | Main Licence language used. |  |
| report the incident immediately via the 24 Hour Spill Reporting Line (867) 920-8130 in accordance with the instructions contained in the Spill Report Form NWT 1752/0593 or subsequent editions; and | Part H, Item 3(b) | Part J, Item 4(b) | Same condition in both licences. |  |
| submit to an Inspector a detailed report on each occurrence not later than thirty (30) days after initially reporting the event. | Part H, Item 3(c) | Part J, Item 4(c) | Same condition in both licences. |  |
| All Unauthorized Discharges of water or Waste shall be reclaimed to the satisfaction of an Inspector. | Part H, Item 4 | N/A | From Main Licence |  |
| The Licensee shall operate in accordance with the Hydrocarbon-Contaminated Materials Management Plan, as approved by the Board and shall describe the following: | Part H, Item 5 | N/A | Language updated to reflect the fact that this plan has been approved since the last licence were written. |  |
| locations and designated uses of existing or planned facilities used for storage, treatment, disposal or management of hydrocarbon-contaminated solids and liquids; | Part H, Item 5(a) | N/A | From Main Licence |  |
| general description of the facilities described under Part I, Item 5(a); | Part H, Item 5(b) | N/A | From Main Licence |  |
| operating history of existing facilities and chemical characteristics of existing stockpiles of hydrocarbon-contaminated materials; | Part H, Item 5(c) | N/A | From Main Licence |  |
| general description of the planned activities and processes for storage; | Part H, Item 5(d) | N/A | From Main Licence |  |
| monitoring, treatment, and disposal or management of hydrocarbon contaminated materials; | Part H, Item 5(e) | N/A | From Main Licence |  |
| monitoring program to test for migration, leakage or Seepage of hydrocarbon contaminated materials; | Part H, Item 5(f) | N/A | From Main Licence |  |
| process for review of information and amending the plan as necessary; | Part H, Item 5(g) | N/A | From Main Licence |  |
| identification of ways to reduce the generation of hydrocarbon-contaminated materials; and | Part H, Item 5(h) | N/A | From Main Licence |  |
| reporting to the Board on activities carried out under this plan, including details on the volumes of hydrocarbon-contaminated materials treated and treatment efficacy. | Part H, Item 5(i) | N/A | From Main Licence |  |
| The Licensee shall operate under the Adaptive Management Plan, as approved by the Board that shall include, but not be limited to: | Part H, Item 7 | N/A | Language updated to reflect the fact that this plan has been submitted since the last licence were written. |  |
| monitoring and research program that is designed to meet the needs of the Adaptive Management Plan; | Part H, Item 7(a) | N/A | From Main Licence |  |
| identification of contaminants of interest for Adaptive Management Planning including at a minimum: total arsenic, total cadmium, total chromium, total copper, total lead, total molybdenum, total phosphorous, total zinc, chloride, nitrate, nitrite, total suspended solids, turbidity, BTEX as defined in the attached Surveillance Network Program and total dissolved solids; | Part H, Item 7(b) | N/A | From Main Licence |  |
| derivation of numerical thresholds in the Receiving Environment for the contaminants of interest; | Part H, Item 7(c) | N/A | From Main Licence |  |
| appropriate triggers for the numerical thresholds referred to in Part I, Item 6(c); | Part H, Item 7(d) | N/A | From Main Licence |  |
| response procedures, mitigation measures and treatment options if triggers are activated; | Part H, Item 7(e) | N/A | From Main Licence |  |
| linkage with the Aquatic Effects Monitoring Program and other Management Plans as appropriate; and | Part H, Item 7(f) | N/A | From Main Licence |  |
| annual reporting to the Board. | Part H, Item 7(g) | N/A | From Main Licence |  |
| The Licensee shall submit to the Board, for approval, by December 31, 2011, or at least one year prior to Discharge from Two Rock Sedimentation Pond an update to the Adaptive Management Plan to address the Sable Development. | N/A | N/A | New condition |  |
| If the plans referred to in Part I, Items 5 and 6 are not approved by the Board, the Licensee shall revise the plans according to the Board’s direction and re-submit them to the Board for approval. | Part H, Item 8 | N/A | From Main Licence. |  |
| The Licensee shall implement the updated plans referred to in Part I, Items 5 and 6 as and when approved by the Board. | Part H, Item 9 | N/A | From Main Licence. |  |
| PART J: Conditions Applying to Aquatic Effects |  |  |  |  |
| The Licensee shall submit to the Board for approval on or before December 31, 2006 a revised Aquatic Effects Monitoring Plan (AEMP), and every three years thereafter through the term of the Licence, or as directed by the Board, to determine the short- and long-term effects in the Receiving Environment resulting from the Project, to test impact predictions and to measure the performance of operations and effectiveness of impact mitigation. | Part I, Item 1 | Part K, Item 10 | Main Licence language used. |  |
| The Licensee shall submit to the Board for approval at least one (1) year prior to commencement of Construction at each of the Pigeon pit or Sable pit an update to the Aquatic Effects Monitoring Plan to include those sampling stations necessary to determine short- and long-term effects in the Receiving Environment as result of the Pigeon and Sable Developments. | N/A | Part K, Item 2 | New condition. |  |
| Generally, the plan referred to in Part J, Item 1 for the Aquatic Effects Monitoring Program shall include, but not be limited to, the following: | Part I, Item 2 | Part K, Item 3 | Main Licence language used. |  |
| clearly identifiable objectives of the Aquatic Effects Monitoring Program; | Part I, Item 2(a) | Part K, Item 3(a) | Main Licence language used. |  |
| a description of the area to be monitored including maps showing all sampling and control sites, as well as the overall Zone of Influence of the Project; | Part I, Item 2(b) | Part K, Item 3(b) | Main Licence language used. |  |
| an evaluation of all available data including baseline data, and data collected under the Surveillance Network Program and the Aquatic Effects Monitoring Program and a description of how any additional data will be integrated with the existing Aquatic Effects Monitoring Program; | Part I, Item 2(c) | Part K, Item 1 | Main Licence language used. |  |
| a description of the sampling program that will be conducted throughout the term of this Licence to achieve the objectives of the Aquatic Effects Monitoring Program including the variables, sample media, monitoring protocols and Quality Assurance/Quality Control procedures; | Part I, Item 2(d) | Part K, Item 3(d) | Same conditions in both licences. |  |
| statistical design criteria, including a description of sampling frequencies for each parameter that ensures both accurate characterization of short-term variability and the collection of sufficient data to establish long-term trends; | Part I, Item 2(e) | Part K, Item 3(e) | Same conditions in both licences. |  |
| a description of procedures to analyze and interpret data collected and procedures to identify and address information gaps; | Part I, Item 2(f) | Part K, Item 3(f) | Main Licence language used. |  |
| a description of evaluation criteria for the Aquatic Effects Monitoring Program and approaches to amend and refine the Aquatic Effects Monitoring Program; | Part I, Item 2(g) | Part K, Item 3(g) | Main Licence language used. |  |
| a description of how the results of the Aquatic Effects Monitoring Program will be incorporated in the overall adaptive management strategies employed by the Licensee; | Part I, Item 2(h) | Part K, Item 3(h) | Same conditions in both licences. |  |
| a description of how proposed changes in monitoring protocols will be calibrated to previous monitoring procedures and data sets so that continuity, consistency, validity and usability of monitoring results will be maintained; and | Part I, Item 2(i) | Part K, Item 3(i) | Main Licence language used. |  |
| a comparison of effects in the aquatic environment to those predicted in the Environmental Impact Assessment and the Licensee’s impact predictions and an assessment and rationale of how the results of this comparison are incorporated into revisions to the Aquatic Effects Monitoring Program. | Part I, Item 2(j) | N/A | From Main Licence. |  |
| Specifically, the AEMP shall include, but not be limited to, the following elements: | Part I, Item 3 | Part K, Item 4 | Same conditions in both licences. |  |
| a process for measuring Project-related effects in: | Part I, Item 3(a) | Part K, Item 4(a) | Same conditions in both licences. |  |
| water quality, | Part I, Item 3(a)(i) | Part K, Item 4(a)(i) | Same conditions in both licences. |  |
| sediment quality, transport and deposition, | Part I, Item 3(a)(ii) | Part K, Item 4(a) (ii) | Same conditions in both licences. |  |
| surface and shallow groundwater flow regimes, fish migration routes and lake recharge rates, retention times and dilution factors, | Part I, Item 3(a)(iii) | Part K, Item 4(a) (iii) | Main Licence language used. |  |
| structure, abundance and productivity of phytoplankton, periphyton, zooplankton, benthic macro invertebrates and fish communities, | Part I, Item 3(a)(iv) | Part K, Item 4(a) (iv) | Main Licence language used. |  |
| contaminant levels in fish tissues and indicators of fish health, and | Part I, Item 3(a)(v) | Part K, Item 4(a) (v) | Same conditions in both licences. |  |
| the taste of fish in water bodies downstream of the Long Lake Containment Facility that shall be competed with the communities. The Licensee shall identify the water bodies to be sampled and the frequency of sampling; | Part I, Item 3(a)(vi) | N/A | From Main Licence. |  |
| the establishment of sufficient control sites outside the immediate Zone of Influence of mining operations and associated activities to provide the necessary information on reference conditions including: | Part I, Item 3(b) | Part K, Item 4(c) | Main Licence language used. |  |
| a detailed rationale for site selection, | Part I, Item 3(b)(i) | Part K, Item (c)(i) | Main Licence language used. |  |
| an assessment of adequacy of existing data for representing predevelopment conditions, and | Part I, Item 3(b)(ii) | Part K, Item (c)(ii) | Main Licence language used. |  |
| an appraisal of the degree to which each site is representative; | Part I, Item 3(b)(iii) | Part K, Item (c)(iii) | Same condition in both licences |  |
| the establishment of sufficient monitoring sites within the Zone of Influence including sites located at: | Part I, Item 3(c) | Part K, Item 4(d) | Same condition in both licences. |  |
| lakes in the vicinity of the Project including, but not limited to, Leslie Lake, Moose Lake, Slipper Lake, Nema Lake, and connecting streams, | Part I, Item 3(c)(i) | N/A | From Main Licence. |  |
| lakes in the vicinity of the Misery operation and connecting streams, | Part I, Item 3(c)(ii) | N/A | From Main Licence. |  |
| Lac de Gras in the vicinity of the outflow of Slipper Lake, | Part I, Item 3(c)(iii) | N/A | From Main Licence. |  |
| Lac du Sauvage in the vicinity of the Misery operation, | Part I, Item 3(c)(iv) | N/A | From Main Licence. |  |
| lakes in the vicinity of the Sable Development (when constructed) including, but not limited to, Horseshoe Lake and outflow, Ulu Lake, Ross Lake and outflow, Lower Exeter Lakes, and connecting streams, | N/A | Part K, Item 4(d)(i) | From SPB Licence. |  |
| lakes in the vicinity of the Pigeon Development (when constructed) including, but not limited to, Upper Exeter Lake, Pigeon Fay Stream and Fay Lake, and | N/A | Part K, Item 4(d)(i) | From SPB Licence. |  |
| any additional sites necessary to evaluate the spatial extent of impacts associated with the Project; | Part I, Item 3(c)(v) | Part K, Item 4(d)(iii) | Same condition in both licences. |  |
| a description of the procedures that will be used to minimize the impacts of the AEMP on fish populations; | Part I, Item 3(d) | N/A | From Main Licence. |  |
| a description of the procedures that will be used to assess the accuracy of the Licensee’s impact predictions and to evaluate the effectiveness of their proposed mitigation measures; | Part I, Item 3(e) | Part K, Item 4(g) | Main Licence language used. |  |
| a detailed description of how the data collected in the Aquatic Effects Monitoring Program will be used to identify the need for additional mitigation strategies to minimize the impacts of the Project; | Part I, Item 3(f) | Part K, Item 4(f) | Main Licence language used. |  |
| an evaluation of the contaminant loads associated with Waste resulting from dust deposition, from the Sable Pit Development, to the aquatic environment; | Part I, Item 3(g) | Part K, Item 4(i) | Main Licence language used. |  |
| a summary of how the Traditional Knowledge will be collected and incorporated into the Aquatic Effects Monitoring Program; and | Part I, Item 3(h) | N/A | From Main Licence. |  |
| a description of how Project-related cumulative effects on the aquatic environment in Lac de Gras region will be evaluated, including the effects of contaminant loadings. | Part I, Item 3(i) | Part K, Item 4(h) | Main Licence language used. |  |
| The Licensee shall implement the plan referred to in Part J, Item 1 for the Aquatic Effects Monitoring Plan as and when approved by the Board. | Part I, Item 4 | Part K, Item 7 | Main Licence language used. |  |
| The Licensee may at any time propose amendments to the plan referred to in Part J, Item 1 for the Aquatic Effects Monitoring Plan for approval by the Board. | Part I, Item 5 | N/A | From Main Licence |  |
| The Licensee shall file as part of the AEMP Annual Report the following information: | Part I, Item 6 | Part K, Item 9 | Same condition in both licences. |  |
| a summary of activities conducted under the Aquatic Effects Monitoring Program; | Part I, Item 6(a) | Part K, Item 9(a) | Same condition in both licences. |  |
| tabular summaries of all data and information generated under the Aquatic Effects Monitoring Program in an electronic and printed format acceptable to the Board; | Part I, Item 6(b) | Part K, Item 9(b) | Same condition in both licences. |  |
| a scientifically defensible interpretation and discussion of the data, including data collected as part of snow quality surveys; | Part I, Item 6(c) | Part K, Item 9(c) | Main Licence language used. |  |
| an assessment of any identified environmental changes relative to baseline conditions that occurred as a result of the Project; | Part I, Item 6(d) | Part K, Item 9(d) | Same condition in both licences. |  |
| an evaluation of the overall effectiveness of the Aquatic Effects Monitoring Program to date; and | Part I, Item 6(e) | Part K, Item 9(e) | Same condition in both licences. |  |
| every third annual report for the Aquatic Effects Monitoring Program, commencing with the report on the 2005 sampling period, shall include a summary of the results of the Aquatic Effects Monitoring Program from Project inception, and a comparison of effects in the aquatic environment for all parameters monitored to those predicted in the Environmental Impact Assessment | Part I, Item 6(f) | Part K, Item 9(g) | Main Licence language used. |  |
| PART K: Conditions Applying to Closure and Reclamation |  |  |  |  |
| The Licensee shall operate under the Interim Closure and Reclamation Plan, as approved by the Board and in accordance with directives from the Board. | Most of the conditions related to Closure and Reclamation for both the SPB and Main Licence have been captured in the “Terms of Reference” for the EKATI ICRP (2006) and in the subsequent ICRP that has been submitted by BHP Billiton. The remaining terms are necessary for the Board to continue the management of Closure and Reclamation at the EKATI site. |  |
| Updates to the Interim Closure and Reclamation Plan will be in accordance with the ``Terms of Reference for the EKATI ICRP``, approved in May 2006, and shall be submitted to the Board for approval. |  |  |
| The Licensee shall implement the Interim Closure and Reclamation Plan as approved by the Board in accordance with the schedules and procedures specified in the plan and endeavor to carry out progressive reclamation of areas as soon as is reasonably practicable. |  |  |
| The Licensee shall review the approved Interim Closure and Reclamation Plan annually, and shall revise the plan as as necessary to reflect changes in operations and technology or to incorporate results from reclamation research studies. All proposed amendments to the plan shall be submitted to the Board for approval. |  |  |
| The Licensee shall, a minimum of twenty four (24) months prior to mine closure, submit to the Board for approval a Final Closure and Reclamation Plan. |  |  |
| The Licensee shall revise the Terms of Reference, referred to in Part K, Item 2, or the Interim or Final Closure and Reclamation Plans as required by the Board, for its approval within timelines specified by the Board. |  |  |